Clinical Investigation Plan template (Model)

This Clinical Investigation Plan (CIP) template is primarily intended for clinical investigations involving medical devices, in accordance with Regulation (EU) 2017/745 (Medical Device Regulation, MDR), particularly Annex XV. It is aligned with the structure and expectations outlined in the MDCG guidance documents and national competent authority (NCA) recommendations.

The template is available for use by all sponsors and investigators conducting clinical investigations with medical devices. Its use is optional, but it is designed to support harmonization and completeness of submitted documentation. The text provided under each heading is intended to clarify the topics that may be appropriate or beneficial to address within the respective sections. Advisory text under heading and references to MDR or ISO 14155 are highlighted in italics in the text. These should be removed before finalizing the CIP.

The final document should be provided in an easily accessible and searchable format (e.g. Word or PDF), not as scanned images.

This document is intended for informational/guiding purposes only and should not be interpreted as legal advice for any specific situation or circumstances. This document provides general guidance only and is not exhaustive. You are responsible for including all study-specific information. Ensure that any additional details unique to your study are accurately documented.

Study title

Insert the title of the study

Reference numbers

Sponsor´s Plans number:

Date and version number:

Contents

Introduction	6

Background and justification	6

Purpose of the study	6

Device and product description	6

Identity, mechanism and function	6

Classification of the device	6

Intended use	7

Accountability, traceability and storage of the device	7

Anticipated risks and benefits	7

Study procedure and device related risks	7

Possible benefits of the investigational device	8

Risk benefit ratio evaluation and justification to conduct the investigation	8

Objectives, hypotheses and Endpoints	8

Study endpoints/objectives	8

Rationale	8

Study Design	8

Summary of study design	8

Study population	9

Eligibility criteria	9

Study procedures	9

Flow chart of investigational procedures	9

Subject preparation	9

Recruitment and screening	9

Description of study procedures	10

Follow-up	10

Subject withdrawal or discontinuation	10

Data collection and assessments	11

Primary assessment	11

Secondary assessment	11

Safety assessments	11

Qualification and training plan	11

Staff and site facilities qualifications	11

Training plan for the protocol and research plan	11

Safety	12

Anticipated AEs	12

Adverse event definition and classification	12

Documentation of adverse events	12

Reporting of safety events	12

Reporting of device deficiencies / complaints	12

Emergency contact and procedures	12

Ethical Conduct of the Study	13

Statement of compliance	13

Ethics committee positive opinion	13

Regulatory and competent authorities	13

Management of protocol modifications and amendments	13

Management of protocol deviations	13

Subject information and informed consent process	13

Early termination / suspension of the study	13

Statistical methods	14

Statistical hypothesis	14

Sample size determination	14

Statistical analysis	14

Handling of missing data	14

Deviations from original statistical plan	14

Quality assurance control	14

Data management	14

Monitoring plan	15

Confidentiality and data protection	15

Independent safety evaluation	15

Steering committee	15

Research Funding and Agreements	15

Clinical study report and publication policy	15

Document and Version Control

| Modification number | Date of modification | Protocol version number | Type of modification | Summary of modification |
| --- | --- | --- | --- | --- |

List of Abbreviation and Terms

Add here all relevant used abbreviations, below some possible examples:

AE	Adverse event

AUC	Area under curve

CA	Competent authority

CE	Marking on product to signify that it meets the legal requirements

CEP	Clinical evaluation plan

CIP	Clinical investigational plan

DoC	Declaration of Conformity

IB	Investigator brochure

IFU	Instruction for use

PI	Principal investigator

RN	Research nurse

ROC	Receiver operating characteristics

SADE	Serious adverse device effect

SAE	Serious adverse events

SoC	Statement of Conformity

USADE	Unexpected serious adverse device effect

Synopsis

| Title |  |
| --- | --- |
| Short title |  |
| CIP version number and date |  |
| CIV-ID number (given by competent authority) |  |
| Sponsor name and address and contact details of the sponsor’s contact person or legal representative |  |
| Participating sites, locations and countries | - all participating study sites and PIs in Finland - general description of other countries and anticipated number of study sites in total - The roles, responsibilities and qualifications of the various kinds of investigators shall be specified in CIP or additional study document |
| Background and justification | - rationale for clinical investigation - device background, development state and condition - current standard of care |
| Investigational device | - name, model and version of the investigational device - if software, the development stage and version number of the software - classification and rule (please see MD 2017/745 appendix VIII) |
| Objectives and Endpoints | - primary endpoints - secondary endpoints - exploratory endpoints and other followed outcomes - safety endpoints |
| Study population | - sample size - inclusion and exclusion criteria |
| Study procedures and assessments | - general description of study subject level study procedures and follow-up |
| Safety assessments | - describe what adverse events/serious adverse events and device deficiencies are collected and from what timepoint (ICF signature, randomization, screening) up to (end of FU, until reported SAE*S are resolved or stabilized…)? |
| Statistics | - sample size calculation – established based on? - If sample size can’t be calculated, please add justification |
| Timelines | - Please add the estimated total investigation duration and enrollment period length and study subject’s participation duration |
| Publication policy and reporting | - investigation report 3 months after early discontinuation to CA or 12 months after study end (last patient last visit) to CA (In art. 62 and art. 74 studies the report will be placed public in a webportal CIRCA-BC before EUDAMED is functional. Art. 82 report will be archived in CA local document management system. More information on Fimea’s webpage) - Scientific article /publication of study results |

Introduction

Background and justification

- Background literature review

- Preclinic investigations with the device (bench tests, in vitro tests, animal tests)

- Previous/on-going clinical investigations and main findings

- Previous publications and scientific reports of the investigational device and/or other devices for similar purposes and information of the similar /same intended use devices available on the market and the novelty of the device under investigation compared to other devices

Purpose of the study

Device and product description

Identity, mechanism and function

- version number of the device, are there previous versions of the same device on market or studied earlier? Software version

- possible accessories used with the device

- manufacturer of the device

- Intended use of the study device

- Is the device CE-marked and used according to the manufacturer’s instructions for use? Or is the device studied outside the intended use? Or not yet a CE-marked device?

- Is comparator used? If yes, why was this comparator selected?

- If there’s no comparator used, is the investigational device for example add on treatment and compared to normal clinical practice

- hardware, software or combination of those?

- is the software intended to be used alone   or MDSW to be used with specific hardware?

- Is pharmaceutical treatment involved? Drug-device combination study?

- materials coming into contact with the human body,

- Does the device emit radiation?

- Does it involve tissue or blood products?

- does the investigation involve sterilized products? Validation reports available? Testing? Patch release report?

- functionality of the device?

- Electronic device? Electric safety design and testing? Medical grade parts? ISO 60601 standard general requirements followed? Is there a risk of interference with other electronic devices at hospital or at home?

Classification of the device

- Device classification (I, IIa, IIb or III?) and based on what rule? (MDR 2017/745 appendix VIII)

- Does it include IVD element/part

- If CE-marked declaration of conformity should be presented in the documentation

- If not CE-marked device statement of conformity should be presented in the documentation (the template form is available on Fimea’s website: )

Intended use

- It’s on manufacturer’s response to determine the intended use of the device:

  - Medical purpose/use of the device?

  - Target population and limitations such as age limits

  - who is the user? healthcare professional or patient?

  - Is the device used in hospitals, outpatient clinics or at home?

Accountability, traceability and storage of the device

- Is investigational device and comparator free and provided by the sponsor? Or is the device under investigation used as a part of normal clinical process and provided by healthcare institution or similar?

- Description of possible assignment of lot numbers, batch numbers of serial numbers to achieve traceability

- Who will check the investigational devices before entering the site (hospital medical device maintenance)?

- Who will keep the device accountability records at site?

- are the investigational products returned to manufacturer/sponsor or destroyed at site? If destroyed at site, who is responsible of recycling process, is the normal healthcare organization procedure followed?

- If the device is used at home, is the study subject advised how to proceed if a malfunction is noticed or in which case should the device be returned to site?

Anticipated risks and benefits

Study procedure and device related risks

- Please describe the anticipated / possible risks related to study device, comparator,  and study procedures.

- There’s presumption of conformity through harmonized standards. For example, following standards are harmonized: SFS-EN ISO 14971 (Risk management) and SFS-EN ISO 13485 (Quality management system)

  - electrical hazards

  - electronic components designed to fulfill ISO60601 general requirements?

  - biocompatibility

  - device misuse

  - radiation

  - sterilization and microbiological challenges

  - tissue and blood product related risks if applicable

  - cybersecurity issues (data transfer, personal data, pseudonymization, sensitive data)

  - possibility of false positive or false negative finding

  - Possible risks related to current guideline-based treatment in the investigated area

  - Possible risks to device users or to other persons

Possible benefits of the investigational device

- Indicate the expected additional benefits associated with the use of investigational device compared to the currently available treatment on the market and/or based on the results of previous studies conducted with the investigational device.

  - health benefit?

  - diagnostic accuracy?

  - better user experience?

  - impact on hospital stay length or out-patient clinic visit frequency?

  - Patient safety? Home monitoring?

  - economic and workforce impact?

Risk benefit ratio evaluation and justification to conduct the investigation

- Summarize the risk benefit ratio and justification to conduct the investigation.  Risk mitigation should be primarily based on risk elimination through safe design and testing, after those protective functions such as alarms and then communication of safety information (Instructions for use, informed consent).

  - risk mitigation plan and residual risk compared to possible benefits

  - If early stage/pilot investigation especially with high-risk devices, please evaluate the possibility of unexpected serious adverse event and how to monitor

  - Is vulnerable subjects needed?

  - Is the residual risk acceptable?

Objectives, hypotheses and Endpoints

Study endpoints/objectives

- primary objective(s)

- secondary objective(s)

- exploratory objective(s)

Rationale

- Considerations related  for selected endpoints (clinical relevance, address important study device related safety and efficacy aspects. consistency, guideline recommendation, ability to objectively define and measure selected variable

Study Design

Summary of study design

- Investigation type (pilot, pivotal, randomized, single-blinded, double-blinded, multinational, multicenter, single center, post-market, interventional, observational…)

- enrollment duration, estimated study duration and expected subject’s participation duration

- Details of measures to be taken to minimize bias, such as randomization, and management of potential confounding factors

- Special attention to design must be taken if the same research plan includes different research phases (clarity, proceeding from one phase to next one, sample size/phase).

Study population

- number of subjects (in total and per subgroup)

- justification if vulnerable subjects (minors, pregnant, breast feeding, reduced self-determination…) will be recruited

- protection of vulnerable subjects if applicable

- is enrollment competitive, is there per-country/site enrollment cap?

- representativeness of investigation population in relation to target population

Eligibility criteria

- inclusion criteria:

  - please list ALL inclusion criteria the possible study candidate must meet

  - if healthy subjects are recruited, please define healthy volunteer: no underlying disease/diagnosis or permanent medication

  - is the subject selection criteria based on CE-marked device  (study device/comparator) which is on market – please check target group from manufacturer’s  IFU (instructions for use)

- exclusion criteria:

  - Please define is patient eligibility if ANY of the exclusion criteria is met

  - study device related

  - study procedure related

  - general like no inform consent signed

  - investigators decision

  - expected life expectancy less than…

  - Attention to device contraindication!

Study procedures

Flow chart of investigational procedures

- please consider adding a table of study procedures and visit time windows for planned visits to visualize the patient level study procedures and actions taken/visit

Subject preparation

- please describe possible prescreening questionnaires, diet requirements, medication discontinuation, or other special pre-visit actions needed if any

Recruitment and screening

- who is responsible for screening study subjects? Is database search used?  Investigator’s own patients?

- Patient risk profile evaluation if applicable

- oral and written information of the investigation to the possible study subject and if subject agree to participate, obtaining written inform consent

- Inform consent must be obtained before any investigation-specific procedures are done

- description of the inform consent process – ethical principals

- vulnerable subjects – is an information sheet about the investigation that corresponds to the child’s age level available? Witness?

- If the study qualifies as emergency research as defined by law, review the applicable legislation carefully and pay particular attention to whether the study meets the criteria for emergency research, especially regarding the recruitment of subjects prior to obtaining written informed consent. Remember to clearly explain why conducting emergency research is justified

Description of study procedures

- please describe patient level study procedures in chronological order (screening visit, randomization visit, baseline visit, follow-up visit and if applicable the FU visit time window)

- content of the visit (laboratory samples, ECG, medical history, medication, questionnaires, clinical assessment, adverse event collection, imaging modalities). Which of the procedures

- are done solely due investigation and what procedures are part of normal clinical care if any?

- Sham /placebo procedures (if any) need to be thoroughly justified, in particular if the procedures are invasive or burdensome, as exposing subjects to risk without the potential benefit of the device/intervention may be questionable from an ethical perspective.

- If a comparable product to the investigational device is available on the market, the device should be compared to the best available product, and comparison to a placebo is not ethically acceptable

- please describe study device related safety limits which are followed (radiation, stimulation max and min values, total time, frequency) and how this following is ensured (automatic, control, or operator based.

- assessment of subject safety monitoring during study procedures and postoperative follow-up (ECG, EEG, BP, SaO2…) if applicable

- assessment of efficacy

Follow-up

- Follow-up plan during the investigation and postoperatively if applicable

- Will study personnel contact study subject after clinical investigation visit to ensure the wellbeing of the study subject?

- Does the study subject have contact information if they need to contact study personnel after study procedures?

- FU of study subjects who has discontinued the investigation

- Adverse event follow-up after study end (stabilized, end of AE/SAE)

Subject withdrawal or discontinuation

- At least three different ways to discontinue participation in the clinical investigation can be identified: withdrawal of consent, discontinue the investigation and discontinue the use of the study device but continue study visits

- please add criteria for discontinuation of the study (attempted procedure, procedure not done?)

- is subjects who discontinue the investigation prematurely included in the analysis of results?

- Is discontinued study subject replaced?

- should reason for discontinuation to be recorded in database?

- criteria and handling of lost-to follow-up cases

- please describe subject’s right to discontinue the investigation at any time during the study and description of arranging follow-up care if applicable

Data collection and assessments

- What data collection tool will be utilized?

- Who is the owner of the data collection tool?

- Is electronic case report form used? Does the cloud service or similar fulfill data privacy requirements? Where is the server/cloud situated (in EU or outside the EU?) Who is responsible of the database back-up copy process, updates and technical support?

- Pseudonymization of the study subjects?

- Access to the database? Do the users have their own unique username and password? Audit trail of entries, changes and corrections? Approval process of the case report form?

- possible idata security breach, what actions will be taken?

- consistence of the database with the source documentation

Primary assessment

- describe the assessment collected to evaluate the primary endpoint and efficacy

Secondary assessment

- describe the assessment collected to evaluate the secondary endpoint and efficacy

Safety assessments

- describe safety parameters based on the study device risk profile and anticipated risks related to study device and study processes

Qualification and training plan

Staff and site facilities qualifications

- describe requirements related adequate staff who has time to manage the investigation

- is device related special requirements set for investigators (medical field, operational skills)?

- special requirements for facilities (operating theatre, imaging modalities, observation room, resuscitation team availability, study subject monitoring…)

Training plan for the protocol and research plan

- please describe who is responsible for study staff training.

- Is training record maintained at site?

- Should all study staff be trained in accordance to their responsibilities and ensure that no study activities are performed before training is completed and site activated?

- investigator and site staff responsibilities – delegation log needed/available?

Safety

Anticipated AEs

- anticipated adverse events and anticipated adverse product effects associated with the use of the device

- If a device is on the market and CE-market and used according to instructions of use (IFU), refer to IFU?

Adverse event definition and classification

- please see MDR article 2 and ISO 14155:2011 table 5

- AE, ADE, SAE, SADE, USADE, Device deficiency

Documentation of adverse events

- Investigator’s responsibilities related to observed adverse events

- seriousness criteria and causality to the study device or/and procedures

- reporting and scope limitations if any (post-marketing investigations)

- documentation requirements (for example: start date of the AE, AE term, AE description, actions taken, seriousness and causality)

Reporting of safety events

- please see detailed instructions in MDCG guideline 2020-10/1

- reporting timelines

- who is responsible for reporting the safety events to the sponsor

- sponsor’s contact person regarding reportable adverse events

Reporting of device deficiencies / complaints

- If the device is CE-marked and on market and used in scope of IFU, possible device related need to be reported according to the study protocol to the competent authority responsible of clinical investigations. But there can be reporting responsibility also based on manufacturer’s responsibilities related to market surveillance / MIR report (please see MDCG 2020-10/1)

Emergency contact and procedures

- emergency protocol at site

- emergency sponsor contact for reporting events and device deficiencies

- unblinding process in case of emergency?

Ethical Conduct of the Study

Statement of compliance

- the investigation will be conducted in accordance with the CIP and ethical principles that have their origin in the Declaration of Helsinki and the international standard ISO 14155:2011 (if applicable), laws and regulations of the countries

Ethics committee positive opinion

- ethics committee evaluation and positive opinion is required in clinical investigations

Regulatory and competent authorities

- If the investigational device is class I (low risk device) competent authority will evaluate the study documentation after positive opinion is received from EC and will send signed notification of the evaluation.

- If the device risk class is IIa or higher, CA will give a decision. Clinical investigation cannot be started before it has both positive opinion from EC and decision from CA.

Management of protocol modifications and amendments

- if substantial modification is made, sponsor should submit the updated documentation and justification for the amendment to EC for evaluation and to CA for review and evaluation. The amendment will only be implemented after positive opinion from EC and notification from CA.

Management of protocol deviations

- define CIP/investigation deviation – investigator/site personnel did not conduct the investigation according to the CIP or agreement

- possible failure examples: inform consent not obtained, incorrect version of study documentation is used, study subject did not meet the inclusion criteria, adverse events not reported according to the plan, study assessments not done

- Site/investigator may not deviate from the CIP, unless the deviation is necessary to protect the rights and wellbeing of the subject in emergency situations

- Procedures for recording, reporting, and analyzing CIP deviations should be described

Subject information and informed consent process

- describe ethical principles and legislation followed during the informed consent process

- description of the process

- who is responsible of informing of the possible study subject

- voluntary decision and enough time to consider the participation

- study subject can discontinue the study at any point, and she is not obligated to give any explanation

- study subject insurance policy

Early termination / suspension of the study

- who can suspend or prematurely terminate the clinical investigation (sponsor, competent authority)

- risks are found to outweigh the benefits?

- If information becomes available that the risk to study subjects is higher than initially indicated, efficacy analysis/interim analysis show that the results are not as expected or differs significantly from those statistical endpoints or sample size calculations made – definition of the suspension or early termination rules

- immediate information of competent authority / EC (if applicable) of the suspension or early termination

- follow-up of study subjects in case of early termination?

Statistical methods

Statistical hypothesis

- rationale for choice of performance goal, null hypothesis proportion and expected true proportion

Sample size determination

- sample size calculation and sample size estimate

Statistical analysis

- safety set

- device success

- is interim analysis planned?

- descriptive statistics? numbers, percentages, means, medians, SD and ranges?

- as treated analysis? Intended to treat analysis?

- used statistical tool (SAP, SPSS, R…)

Handling of missing data

- is statistical technique used to impute missing data?

- when reported, how can the reader assess the potential impact of missing data?

Deviations from original statistical plan

- possible scenarios if identified and actions taken

Quality assurance control

Data management

- data management plan

- investigator site files, source documentation, study database

- electronic? paper?

- who is responsible of maintaining and updating?

Monitoring plan

- site personnel supervision – principal investigator’s responsibility? Who will provide monitoring and monitoring oversight?

- how is monitoring arranged? Is a monitoring plan available?

- describe the main duty of the monitoring (data, regulatory and ethical quality…)

- Audits and inspections

Confidentiality and data protection

- data privacy evaluation

- data owner and data provider roles

- GDPR and local laws

- pseudonymization, anonymization, list to decode

- personnel who have access to source documentation (site staff, monitor, competent authority during inspection…) and confidentiality.

Independent safety evaluation

- in medium and high-risk investigations an independent safety evaluation committee is highly recommended to ensure the safety of study participants

Steering committee

- endpoint evaluation during the investigation on regular basis to as defined in the study protocol

Research Funding and Agreements

- short description of the financial support and grants received

- short description of the agreements between the sponsor and the manufacturer of the investigational device (if applicable)

- Potential agreements regarding proprietary information

- funding will cover the expenses

Clinical study report and publication policy

- A study report must be submitted to a competent authority 12 months after study end (last patient last visit) or 3 months after early discontinuation of the clinical investigation. The report will be placed publicly available by CA

- Scientific publication plan? Articles to be published in peer-reviewed scientific papers? Congress abstracts?

Appendix:

- Study site and investigator list (The roles, responsibilities and qualifications of the various kinds of investigators shall be specified in the CIP or attachment)

- Other relevant information

References:

- please list all relevant references and latest publications on the investigated area